## Sheet1
|  | Action | Expected Results | Pass/Fail | Comments
Final Project Oasis Pro Test Script
Power On/Off
| Turning on the device | Press the Power button (The bottom most button with the O symbol). Press the OK Button | The device powers on with the display prompting the user to press the OK Button, once pressed, the screen shows a loading sequence followed by a list of the users stored on the device and the Status Bar above the display showing the connection and battery life.
| Turning off the device | Press the Power button (The bottom most button with the I symbol). | The device shuts down with Power Off displayed on the main screen.
Selecting Treatment
| Selecting Treatment | Press the OK button to select a user. | The screen shows three options, Start Session, Treatment History, and Change User.
|  | Using the arrow buttons select the Start Session option with the OK button. | The Screen Shows three options for treatment duration, 20 minute, 45 minutes, and User Designated.
|  | Using the arrow buttons select any one of the treatment options with the OK button. | The Screen shows four options for the type of treatment wanted, MET, Delta, Theta, and Alpha.
|  | Using the arrow buttons select any one of the treatment options with the OK button. | The screen displays the options selected for the treatment (User Designated has a duration of 60 minutes) along with two bars with numbers in between for the intesity.
|  | Using the arrows increase and decrease the intensity | When the up button is pressed, the intensity increases and when the down button is pressed, the intensity decreases.
| Saving treatment options | During an ongoing treatment, press the record button | Treatment options are saved under the user.
|  | Press the History button | The saved treatment with the options are displyed.
| Using previous treatment options | By pressing the MAIN button and selecting the treatment history option or by pressing the HISTORY button. | The saved treatment options are displayed.
|  | Select a saved treatment and press the OK button | The treatment options are displayed with the two intesity bars with numbers between at the saved intensity.